## Slide 1
Probabilistic Randomized QUBO-Based ECG Analyzer
For Fast, Explainable and Uncertainty-Aware Doctor Assistance Software-First Prototype and Future Hardware Commercialization Architecture

## Slide 2
1. Abstract
ECG interpretation can be affected by noise, measurement variability, borderline values and multiple simultaneous findings.
The system combines ECG signal processing, fast analysis, probability estimation, controlled randomized/stochastic processing and QUBO.
It extracts ECG measurements, estimates candidate-finding probabilities, generates plausible ECG states, optimizes candidate combinations and measures stability.
Final output: waveform, measurements, probability, stability, signal quality and supporting evidence.

## Slide 3
2. Problem Statement
• ECG signals may contain noise, artifacts and baseline variation.
• Measurements and patterns may be borderline.
• Multiple candidate findings may occur simultaneously.
• Independent algorithms can produce competing interpretations.
• A single confidence value may not adequately represent uncertainty.
• Black-box predictions may be difficult to interpret.
• Large-scale screening can increase clinical workload.

## Slide 4
3. Proposed Solution
ECG → Signal preprocessing → Feature extraction → Fast analyzer
Fast analyzer + Probability engine → Randomized/Stochastic processor
Multiple plausible ECG states → QUBO optimization → Stability/Consensus
→ Explainability engine → Doctor-assistance dashboard

## Slide 5
4. Objectives
• Process ECG recordings digitally and reduce common noise/artifacts.
• Extract clinically relevant ECG measurements.
• Estimate probabilities for predefined candidate findings.
• Model uncertainty through controlled stochastic sampling.
• Formulate candidate findings as a QUBO optimization problem.
• Resolve defined conflicts and calculate stability/consensus.
• Present results through a doctor-oriented interface.

## Slide 6
5. ECG Signal Processing & Features
Input: CSV, MAT, XML or ECG device data in the initial prototype.
Signal processing: baseline-wander reduction, noise/artifact reduction, power-line interference reduction, normalization and signal-quality assessment.
Features: heart rate, RR, PR, QRS, QT/QTc, P/QRS/T characteristics, ST-segment, rhythm regularity and beat-to-beat features.

## Slide 7
6. Fast Analyzer
Provides a low-latency first-pass assessment.
Calculates common measurements and checks whether the signal is suitable for further analysis.
Clear result → preliminary result.
Uncertain result → Probability + Stochastic + QUBO pipeline.

## Slide 8
7. Probability Engine
Estimates likelihood of predefined candidate findings from ECG evidence.
Concept: P(F | E), where F is a candidate finding and E is available ECG evidence.
Illustrative report examples include rhythm abnormality, ST abnormality, QT abnormality and ectopic activity.
The report states that example probabilities are illustrative only; real clinical use requires training, calibration, independent validation and clinical assessment.

## Slide 9
8. Randomized / Stochastic Processor
Represents uncertainty rather than introducing arbitrary noise.
Measured feature → uncertainty distribution → controlled random sampling → multiple plausible ECG states.
Each state is evaluated by the downstream pipeline.
Purpose: determine whether a finding remains stable under plausible measurement variation.

## Slide 10
9. QUBO Engine
QUBO = Quadratic Unconstrained Binary Optimization.
Candidate findings use binary variables xᵢ ∈ {0,1}.
E(x) = Σ aᵢxᵢ + Σ(i<j) bᵢⱼxᵢxⱼ.
Linear terms can encode evidence/probability; quadratic terms can encode compatibility, interaction or conflict penalties.
The optimizer reconciles competing candidate findings according to the defined model.

## Slide 11
10. Stability & Consensus
Stability measures how consistently a finding appears across sampled ECG states.
S(F) = N_F / N.
N_F = sampled states supporting the finding; N = total sampled states.
Example: 96 supporting states out of 100 → stability = 0.96.
Stability is not the same as diagnostic probability; it describes robustness under the defined stochastic analysis.

## Slide 12
11. Explainability & Doctor Dashboard
• ECG waveform and relevant measurements.
• Candidate findings with model probability and stability/robustness.
• Signal quality and supporting morphology/rhythm evidence.
• Model and algorithm version information.
• Physician review required.

## Slide 13
12. Software Architecture
ECG input: CSV / MAT / XML initially.
Signal processing: Python, NumPy, SciPy.
ML: scikit-learn; PyTorch if required.
Probability engine: statistical / machine-learning model.
Random processor: Python stochastic engine.
QUBO: classical solver / simulated annealing initially.
Backend: FastAPI. UI: Streamlit initially; React later. Database: SQLite initially; PostgreSQL for production.

## Slide 14
13. End-to-End Software Flow
START → Load ECG → Check signal quality.
Poor quality → flag for reacquisition/review.
Preprocess → Extract features → Fast analysis → Probability estimation.
Significant uncertainty → Random sampling → Candidate states → QUBO → Stability.
Then → Explainability → Doctor dashboard → END.

## Slide 15
14. Development & Validation
Phase 1: ECG processing and basic measurements.
Phase 2: Fast analyzer.
Phase 3: Probability engine and model evaluation.
Phase 4–6: stochastic sampling, QUBO and stability.
Phase 7: dashboard. Phase 8: validation.
Validation metrics can include sensitivity, specificity, precision, F1, AUROC, calibration, false-positive/negative rates, robustness, latency and stability.

## Slide 16
15. Future Hardware & Commercialization
Future path: 12-lead ECG → ECG analog front end → ADC → MCU/edge processor → fast analyzer / AI accelerator → QUBO accelerator → doctor interface.
Potential targets: hospitals, clinics, diagnostic laboratories, ECG manufacturers, digital-health companies and research institutions.
Possible models: software subscription, SDK/API licensing, OEM licensing and embedded-device licensing.

## Slide 17
16. Safety & Expected Outcome
The initial system is a research prototype and physician-assistance technology, not an autonomous diagnostic device.
Probability should not be represented as definitive diagnosis; stability should not be represented as clinical certainty.
Expected outcome: ECG → measurements → fast screening → probability → stochastic analysis → QUBO → stability → explainable report.

## Slide 18
17. Recommended MVP
ECG dataset
↓ Python preprocessing
↓ Fast Analyzer
↓ Probability Engine
↓ Random/Stochastic Processor
↓ QUBO Engine
↓ Stability Score
↓ Streamlit Doctor Dashboard
This demonstrates the core concept before custom ECG hardware.

## Slide 19
18. One-Line Innovation Pitch
A fast, probabilistic and uncertainty-aware ECG doctor-assistance system that uses controlled stochastic sampling and QUBO optimization to identify robust ECG findings while presenting probability, stability, signal quality and supporting evidence for physician review.